## Slide 1: Blood substitutes
Dr. S. Parthasarathy
MD., DA., DNB, MD (Acu), Dip. Diab. DCA, Dip. Software statistics
PhD (physio)
Mahatma Gandhi Medical college and research institute , puducherry India

## Slide 2: Why do we need blood substitutes?
.Blood shortages & donor recruitment
•Compatibility –need for cross-matching
•Cost of blood processing
•Shelf-life & storage
•Human error
•Unnecessary transfusions
•Risk of disease transmission
•Cultural & religious objection

## Slide 3: Problems A,B,C,D,E,F
A dvances in surgery , adverse reactions
B lood shortage,
C ost, compatability ,culture
D onor, diseases,
E rror
F ridge

## Slide 4: What are blood substitutes ??
Blood substitutes are fluids which when injected into the human blood stream contribute significantly to the transport of oxygen around the body
IV fluids which supply oxygen

## Slide 5: Types
Biotic
Hb based
Abiotic
PFC s

## Slide 6: Haemoglobin based solutions
HemAssist (Baxter) –stabilized hemoglobin tetramer by diaspirin linkage
Somatogen (Optro, Baxter) –recombinant human hemoglobin
PolyHeme (Northfield) –glutaraldehyde polymerized human hemoglobin;
Hemopur-= (Biopure) – glutaraldehyde polymerized bovine Hb.
And a lot more

## Slide 7: Pros of Hb solutions
No pro-inflammatory substances
Cheap; uses discarded blood- sometimes cow
Pure, virus-free Hb
No antigen testing.
Easy availability.
Jehovah witness – ok
low viscosity, high oncoticpressure

## Slide 8: No 2, 3 DPG- shift –pyridoxlation or adding Cl- corrects

## Slide 9: Chemistry of HB solutions

## Slide 10: No to Hb solutions – why?
Possible local vasoconstriction
Coronary and cerebral vascular supply compromise
Acute renal failure concerns
Systemic and pulmonary hypertension
Many are put to disuse

## Slide 11: Only console is here
Hemopure(Biopure) –glutaraldehyde polymerized bovine Hb.
Licensed for clinical use in South Africa
Vet nary use –
FDA approved

## Slide 12: Perflouro carbons – abiotic
Perfluorocarbons(PFCs) are organic compounds similar to hydrocarbons – with carbon flourine bonds
Clear, odourless fluids, chemically very unreactive; linear, cyclic or polycyclic.
The stability of PFCs - strength of carbon-fluorine bonds.
Also responsible
for the inert nature of PFCs

## Slide 13: What the curve is like ??

## Slide 14: PFCs – properties
Synthetic liquids which dissolve large quantities of O2
•Also transport CO2, N2
•O2 easily extracted at tissues
•Stable, no chemical modification required, chemically inert
•Blood half-life dose dependent and limited by uptake by RES, eventually excreted from body by exhalation
•Easily sterilized, no disease transmission
•Low production costs, infinite supply

## Slide 15: Microvascular effects
Emulsion particles 0.2μm diameter perfuse smallest capillaries (4 -5μm diameter) where no RBCsflow
•Augment local O2delivery much more than would be expected from ↑in O2content of arterial blood
•O2 in dissolved state →higher PO2in microcirculation →↑driving pressure for diffusion of O2into tissues
•O2 transported by PFCs is preferentially metabolised due to it’s excellent unloading characteristics

## Slide 16: Problems with perfluorocarbons
Immiscible with plasma, need to be prepared as emulsions (egg yolk phosphatide)
•Require high FiO2 to dissolve adequate quantities of oxygen
•Flu-like symptoms observed in human clinical trials, delayed febrile reactions (due to phagocytosis by RES)
•Thrombocytopenia at higher doses

## Slide 17: Various PFCs
safety (stroke) -?
Phase II trials
Discontinued; safety ??

## Slide 18: How it is blood ??

## Slide 19: Research -
Encapsulation of hemoglobin in biodegradable polymer membranes
from worms
fibrinogen-coated albumin microspheres

## Slide 20: So near yet so far

## Slide 21: Thank you all